///////////////////////////
HEAT_LOAD_ON
///////////////////////////
        // DO NOT MODIFY THIS SEQUENCE
        // THIS IS THE SEQUENCE FOR THE FUNCTION POINTER ARRAY FURTHER ABOVE	IN THIS FILE.
        // THERE IS A COMPLEX RELATIONSHIP BETWEEN SETTING THE MUX AND WHEN	YOU CAN READ (TIME DELAY)
        // WITH THIS SEQUENCE IT TAKES 937 milliseconds to complete a loop iteration
        // THE FOLLOWING # OF SAMPLES ARE RECORDED:
        // TEMP DIODE x 2 samples
        // COOLER AMPS x 9 samples
        // COOLER_VOLTS x 4 samples
        // HEAT_LOAD_V x 4 samples
        // HEAT_LOAD_I x 3 samples
        // THRMCPL1 x 1 sample
        // THRMCPL2 x 1 sample
        // THRMCPL3 x 1 sample
        ADC0_Read_Temp_Diode();
        ADC1_Read_Cooler_Amps();
        ADC0_Read_Temp_Diode();
        ADC0_Set_MUX_Cooler_Volts();
        ADC1_Read_Cooler_Amps();
        ADC0_Throw_Away_Reading();
        ADC1_Read_Cooler_Amps();
        ADC1_Set_MUX_Heat_Load_V();
        Read_Thermocouple_1();
        ADC0_Read_Cooler_Volts();
        ADC1_Throw_Away_Reading();
        ADC0_Read_Cooler_Volts();
        ADC1_Read_Heat_Load_V();
        ADC0_Read_Cooler_Volts();
        ADC1_Read_Heat_Load_V();
        ADC0_Read_Cooler_Volts();
        ADC0_Set_MUX_Cooler_Amps();
        ADC1_Read_Heat_Load_V();
        Read_Thermocouple_2();
        ADC0_Throw_Away_Reading();
        ADC1_Read_Heat_Load_V();
        ADC1_Set_MUX_Heat_Load_I();
        ADC0_Read_Cooler_Amps();
        ADC1_Throw_Away_Reading();
        ADC0_Read_Cooler_Amps();
        ADC1_Read_Heat_Load_I();
        ADC0_Read_Cooler_Amps();
        ADC1_Read_Heat_Load_I();
        ADC1_Set_MUX_Cooler_Amps();
        ADC0_Read_Cooler_Amps();
        ADC1_Throw_Away_Reading();
        ADC0_Read_Cooler_Amps();
        ADC0_Set_MUX_Temp_Diode();
        Read_Thermocouple_3();
        ADC0_Throw_Away_Reading();
        ADC1_Read_Cooler_Amps();

//////////////////////////////////
HEAT LOAD OFF
///////////////////////////////////
        // DO NOT MODIFY THIS SEQUENCE
        // THERE IS COMPLEX RELATIONSHIP BETWEEN SETTING THE MUX AND WHEN YOU CAN READ FROM THE SETTING
        // WITH THIS SEQUENCE IT TAKES 1004 milliseconds to complete a loop iteration
        // THE FOLLOWING # OF SAMPLES ARE RECORDED:
        // TEMP DIODE x 3 samples
        // COOLER AMPS x 15 samples (ADC1 dedicated to reading cooler current)
        // COOLER_VOLTS x 10 samples
        // THRMCPL1 x 1 sample
        // THRMCPL2 x 1 sample
        // THRMCPL3 x 1 sample
        ADC0_Read_Temp_Diode();
        ADC1_Read_Cooler_Amps();
        ADC0_Read_Temp_Diode();
        ADC1_Read_Cooler_Amps();
        ADC0_Read_Temp_Diode();
        ADC0_Set_MUX_Cooler_Volts();
   //printf("Converted %f V to %d counts\n", volts, corrected_counts);
        ADC1_Read_Cooler_Amps();
        Read_Thermocouple_1();
        ADC0_Throw_Away_Reading();
        ADC1_Read_Cooler_Amps();
        ADC0_Read_Cooler_Volts();
        ADC1_Read_Cooler_Amps();
        ADC0_Read_Cooler_Volts();
        ADC1_Read_Cooler_Amps();
        ADC0_Read_Cooler_Volts();
        ADC1_Read_Cooler_Amps();
        ADC0_Read_Cooler_Volts();
        ADC1_Read_Cooler_Amps();
        ADC0_Read_Cooler_Volts();
        ADC1_Read_Cooler_Amps();
        Read_Thermocouple_2();
        ADC0_Read_Cooler_Volts();
        ADC1_Read_Cooler_Amps();
        ADC0_Read_Cooler_Volts();
        ADC1_Read_Cooler_Amps();
        ADC0_Read_Cooler_Volts();
        ADC1_Read_Cooler_Amps();
        Read_Thermocouple_3();
        ADC0_Read_Cooler_Volts();
        ADC1_Read_Cooler_Amps();
        ADC0_Read_Cooler_Volts();
        ADC0_Set_MUX_Temp_Diode();
        ADC1_Read_Cooler_Amps();
        ADC0_Throw_Away_Reading();

ADC0:
ADC1: